## Sheet1
Sample ID | Cell count | Viable cells | Total (x10^6) cells/mL | Viable (x10^6) cells/mL | Viability (%) | Average diameter (µm) | Average viable diameter (µm) | Average circularity | Average viable circularity | Average cells per image | Average background intensity | Bubble count | Cluster count | Images for analysis | Cell type | Minimum Diameter (µm) | Maximum Diameter (µm) | Images | Cell sharpness | Minimum circularity | Decluster degree | Aspiration cycles | Viable spot brightness (%) | Viable spot area (%) | Mixing cycles | Analysis date/time | Reanalysis date/time | Analysis by | Reanalysis by | Dilution | Wash | Tag | Concentration Adjustment Factor (%) | ROW | COLUMN
E17D09SF17 | 15043 | 12810 | 28.83 | 24.55 | 85.2 | 14.91 | 15.08 | 0.94 | 0.95 | 150 | 135 | 0 | 2 | 100 | CHO | 10 | 30 | 100 | 7 | 0.1 | Medium | 3 | 55 | 5 | 3 | 2023-11-14 15:38 |  | Vi-CELL |  | 5 | Normal Wash |  | 0 | Carousel | 7
E18D02BRX01 | 8351 | 8158 | 3.2 | 3.13 | 97.7 | 15.63 | 15.67 | 0.96 | 0.96 | 83 | 135 | 0 | 0 | 100 | CHO | 10 | 30 | 100 | 7 | 0.1 | Medium | 3 | 55 | 5 | 3 | 2023-11-14 15:39 |  | Vi-CELL |  | 1 | Normal Wash |  | 0 | Carousel | 8
E18D02BRX03 | 10029 | 9641 | 3.84 | 3.7 | 96.1 | 15.53 | 15.59 | 0.95 | 0.95 | 100 | 135 | 0 | 0 | 100 | CHO | 10 | 30 | 100 | 7 | 0.1 | Medium | 3 | 55 | 5 | 3 | 2023-11-14 15:41 |  | Vi-CELL |  | 1 | Normal Wash |  | 0 | Carousel | 9